## INTEDOOR
| Luminaire parameters |  |  |  | Parameters of the installed light source (EU 2019/2015)
Code Intedoor | Luminous flux of the lighting (lm) | electrical input power (W) | Specific power (lm / W) | Temp. max (°C) | Ra | K | Specific power (lm / W) | Factor by the type of the light source (FTM) | Total el.network specific power (lm / W) | Energy efficiency class of the light source | Code EPREL | Light source replaceability* | Ballast replaceability*
AKRA 30 | 394.975 | 5.18 | 76.25 | 45 | 82.9 | 4000 | 119.56 | 1.089 | 130.2 | E | 919741 | No, can only be removed for an inspection | No, can only be removed for an inspection
AKRA 50 | 879.9592 | 10.18 | 86.44 | 45 | 82.9 | 4000 | 118.91 | 1.089 | 129.49 | E | 919821 | No, can only be removed for an inspection | No, can only be removed for an inspection
ALUZ12070CLED | 2400 | 24 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
ALUZ12070CLEDP | 3600 | 36 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ALUZ12070LED | 2400 | 24 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
ALUZ12070LEDP | 3600 | 36 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ALUZ6070CLED | 1200 | 12 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
ALUZ6070CLEDP | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ALUZ6070LED | 1200 | 12 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
ALUZ6070LEDP | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ALUZ9070CLED | 1800 | 18 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
ALUZ9070CLEDP | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ALUZ9070LED | 1800 | 18 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
ALUZ9070LEDP | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
AU ZS 100 | 3300 | 33 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
AU ZS 120 | 3600 | 36 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
AU ZS 140 | 4000 | 40 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
AU ZS 60 | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
AU ZS 80 | 2900 | 29 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
BEKA 30 | 370.0016 | 4.46 | 82.96 | 45 | 83 | 4000 | 115.38 | 1.089 | 125.65 | E | 917947 | No, can only be removed for an inspection | No, can only be removed for an inspection
BEKA 60 | 782.0211 | 9.21 | 84.91 | 45 | 82.2 | 4000 | 119.36 | 1.089 | 129.98 | E | 919647 | No, can only be removed for an inspection | No, can only be removed for an inspection
CE ZS 100 B | 3300 | 33 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 100 S | 3300 | 33 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 120 B | 3600 | 36 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 120 S | 3600 | 36 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 140 B | 4000 | 40 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 140 S | 4000 | 40 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 60 B | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 60 S | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 80 B | 2900 | 29 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 80 S | 2900 | 29 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 90 B | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
CE ZS 90 S | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
D ZS 100 | 1853.808 | 8.8 | 210.66 | 28 | 84.27 | 6201 | 210.66 | 0.926 | 195.0712 | B | 886757 | Yes, by a proffesional | Yes, by a proffesional
D ZS 100 VER SCH | 1644.632 | 8.8 | 186.89 | 28 | 84.7 | 4127 | 186.89 | 0.926 | 173.0601 | C | 887650 | Yes, by a proffesional | Yes, by a proffesional
D ZS 120 | 2211.93 | 10.5 | 210.66 | 28 | 84.27 | 6201 | 210.66 | 0.926 | 195.0712 | B | 886757 | Yes, by a proffesional | Yes, by a proffesional
D ZS 120 VER SCH | 1644.632 | 8.8 | 186.89 | 28 | 84.7 | 4127 | 186.89 | 0.926 | 173.0601 | C | 887650 | Yes, by a proffesional | Yes, by a proffesional
D ZS 60 | 1053.3 | 5 | 210.66 | 28 | 84.27 | 6201 | 210.66 | 0.926 | 195.0712 | B | 886757 | Yes, by a proffesional | Yes, by a proffesional
D ZS 60 VER SCH | 1644.632 | 8.8 | 186.89 | 28 | 84.7 | 4127 | 186.89 | 0.926 | 173.0601 | C | 887650 | Yes, by a proffesional | Yes, by a proffesional
D ZS 70 | 1263.96 | 6 | 210.66 | 28 | 84.27 | 6201 | 210.66 | 0.926 | 195.0712 | B | 886757 | Yes, by a proffesional | Yes, by a proffesional
D ZS 80 | 1474.62 | 7 | 210.66 | 28 | 84.27 | 6201 | 210.66 | 0.926 | 195.0712 | B | 886757 | Yes, by a proffesional | Yes, by a proffesional
D ZS 80 VER SCH | 1644.632 | 8.8 | 186.89 | 28 | 84.7 | 4127 | 186.89 | 0.926 | 173.0601 | C | 887650 | Yes, by a proffesional | Yes, by a proffesional
D ZS 90 | 1643.148 | 7.8 | 210.66 | 28 | 84.27 | 6201 | 210.66 | 0.926 | 195.0712 | B | 886757 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1024 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1025 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1026 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1031 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1032 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1034 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1037 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1050 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1051 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1055 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1070 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1080 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1081 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1094 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1099 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A0016 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A0025 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A0076 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A0086 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A2496 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A2736 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3026 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3136 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3166 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3396 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3406 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3416 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3446 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3686 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A3746 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A4376 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A4386 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A4536 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A4546 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A4606 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A4706 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A5606 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A5866 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A6766 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A9146 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A9166 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10A9556 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10D331 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10D370 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS10K011 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1224 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1225 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1226 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1231 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1232 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1234 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1237 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1250 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1251 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1255 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1270 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1280 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1281 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1294 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS1299 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A0016 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A0025 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A0076 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A0086 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A2496 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A2736 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3026 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3136 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3166 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3396 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3406 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3416 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3446 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3686 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A3746 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A4376 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A4386 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A4536 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A4546 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A4606 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A4706 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A5606 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A5866 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A6766 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A9146 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A9166 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12A9556 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12D331 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12D370 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS12K011 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6024 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6025 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6026 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6031 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6032 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6034 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6037 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6050 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6051 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6055 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6070 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6080 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6081 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6094 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS6099 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A0016 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A0025 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A0076 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A0086 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A2496 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A2736 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3026 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3136 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3166 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3396 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3406 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3416 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3446 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3686 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A3746 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A4376 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A4386 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A4536 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A4546 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A4606 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A4706 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A5606 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A5866 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A6766 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A9146 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A9166 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60A9556 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60D331 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60D370 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS60K011 | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8024 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8025 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8026 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8031 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8032 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8034 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8037 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8050 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8051 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8055 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8070 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8080 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8081 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8094 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS8099 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A0016 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A0025 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A0076 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A0086 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A2496 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A2736 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3026 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3136 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3166 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3396 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3406 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3416 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3446 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3686 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A3746 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A4376 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A4386 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A4536 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A4546 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A4606 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A4706 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A5606 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A5866 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A6766 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A9146 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A9166 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80A9556 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80D331 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80D370 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
DAVZS80K011 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
EL ZS 60/120 | 2400 | 24 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
EL ZS 80/60 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ELLI | 440 | 5 | 88 | 45 | 80 | 4000 | 105 | 1.089 | 114.35 | E |  | No, can only be removed for an inspection | No, can only be removed for an inspection
GALPIR100LED | 1536.3 | 16.2 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALPIR120LED | 1877.7 | 19.8 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALPIR60LED | 853.5 | 9 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALPIR80LED | 1194.9 | 12.6 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALZS100LED | 1536.3 | 16.2 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALZS120LED | 1877.7 | 19.8 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALZS60LED | 853.5 | 9 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
GALZS80LED | 1194.9 | 12.6 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
KOLEO | 187.9974 | 2.39 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
LED OSVZ | 390 | 0.72 | 3.7 | 0-40 | >80 | 5500 | 3.7 | 800 mA Batery | 3.7 | G |  | No, can only be removed for an inspection | No, can only be removed for an inspection
LI4 ZS 100/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 100/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 100/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 120/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 120/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 120/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 140/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 140/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 140/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 60/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 60/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 60/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 70/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 70/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 70/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 80/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 80/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 80/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 90/70 | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 90/70 TF | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
LI4 ZS 90/70 TF 4000K | 1187.5 | 12.5 | 95 | 28 | 90 | 4000 | 95 | 0.926 | 87.97 | F | 918813 | Yes, by a proffesional | Yes, by a proffesional
MA ZS 50 B LED | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
MA ZS 50 W LED | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
MA ZS 60 B LED | 4000 | 40 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
MA ZS 60 W LED | 4000 | 40 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 100 B | 2000 | 20 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 100 S | 2000 | 20 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 120 B | 2400 | 24 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 120 S | 2400 | 24 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 140 B | 2800 | 28 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 140 S | 2800 | 28 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 60 B | 1200 | 12 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 60 S | 1200 | 12 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 80 B | 1600 | 16 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 80 S | 1600 | 16 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 90 B | 1800 | 18 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PI ZS 90 S | 1800 | 18 | 100 | 28 | 80 | 6000 | 100 | 0.926 | 92.6 | F | 919949 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 100 LED | 1769.4 | 16.2 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 100 LED | 1536.3 | 16.2 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 120 LED | 2162.6 | 19.8 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 120 LED | 1877.7 | 19.8 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 45 L LED | 688.1 | 6.3 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 45 L LED | 597.45 | 6.3 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 60 L LED | 983 | 9 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 60 L LED | 853.5 | 9 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 80 LED | 1376.2 | 12.6 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
PIR ZS 80 LED | 1194.9 | 12.6 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
PROZRCK100IP | 376 | 4.78 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
PROZRCK50IP | 376 | 4.78 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
PROZRCK60IP | 376 | 4.78 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
PROZRCK70IP | 376 | 4.78 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
PROZRCK80IP | 376 | 4.78 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
PROZRCK90IP | 376 | 4.78 | 78.66 | 45 | 82 | 4000 | 122.72 | 1.089 | 133.64 | E | 919990 | No, can only be removed for an inspection | No, can only be removed for an inspection
R ZS 100 LED | 1769.4 | 16.2 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 100 LED | 1536.3 | 16.2 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
R ZS 120 LED | 2162.6 | 19.8 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 120 LED | 1877.7 | 19.8 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
R ZS 60 L LED | 983 | 9 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 60 L LED | 853.5 | 9 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
R ZS 60 P LED | 983 | 9 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 60 P LED | 853.5 | 9 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
R ZS 70 LED | 1179.6 | 10.8 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 70 LED | 1024.2 | 10.8 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
R ZS 80 LED | 1376.2 | 12.6 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 80 LED | 1194.9 | 12.6 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
R ZS 90 LED | 1572.8 | 14.4 | 109.2222 | 45 | 80 | 6000 | 109.2222 | 1.176 | 128.4453 | E | 893307 | Yes, by a proffesional | Yes, by a proffesional
R ZS 90 LED | 1365.6 | 14.4 | 94.8333 | 45 | 80 | 3000 | 94.8333 | 1.176 | 111.524 | E | 897631 | Yes, by a proffesional | Yes, by a proffesional
RU ZS 70 TF | 1700 | 17 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
RU ZS 80 TF | 2000 | 20 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
RU ZS 90 TF | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
TONIC H ZS 100 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC H ZS 120 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC H ZS 140 | 3300 | 33 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC H ZS 60 L | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC H ZS 80 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC ZS 100 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC ZS 120 | 2800 | 28 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC ZS 140 | 3300 | 33 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC ZS 60 L | 1400 | 14 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
TONIC ZS 80 | 1800 | 18 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 920145 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 100/70 | 2700 | 27 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 100/70 TF | 2700 | 27 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 120/70 | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 120/70 TF | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 140/70 | 3500 | 35 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 140/70 TF | 3500 | 35 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 60/70 | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 60/70 TF | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 70/70 | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 70/70 TF | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 80/70 | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 80/70 TF | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 90/70 | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
WA5 ZS 90/70 TF | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL10070KLEDS | 2700 | 27 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL10070KTLEDS | 2700 | 27 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL10070LEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL10070TLEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL100PKLEDP | 1600 | 16 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL12070KLEDS | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL12070KTLEDS | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL12070LEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL12070TLEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL60100LEDP | 3100 | 31 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL6070KLEDS | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL6070KTLEDS | 1900 | 19 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL6070LEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL6070TLEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL6080KZLED | 600 | 6 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL8060LEDS | 1350 | 13.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL8070KLEDS | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL8070KTLEDS | 2300 | 23 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL8070LEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL8070TLEDS | 1250 | 12.5 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
ZIL80KLEDP | 2500 | 25 | 100 | 28 | 90 | 6000 | 100 | 0.926 | 92.6 | F | 1344899 | Yes, by a proffesional | Yes, by a proffesional
* The light source and ballast can only be replaced by a professional company. Ask your dealer for contact.
The above-mentioned products, containing a light source, are designed so that at the end of their service life, the light source and the ballast can be disassembled and disposed of in an environmentally friendly manner.